## Slide 1
September 27, 2024
Meg Pierce-Walsh, Practice Leader Plummer Associates, Inc.
Gregg Eckhardt, Senior Analyst
SAWS Treatment and
Production Operations
Total Dissolved Solids Study

## Slide 2: SAWS Water Recycling Centers
Three treatment facilities
6,042 miles of sewer mains
~ 100 SIUs
Primarily “very hard” groundwater
Nation’s largest direct reuse system
Discharges to effluent dominated stream

## Slide 3: Effluent Total Dissolved Solids
200 – 400 mg/L
700 – 900 mg/L

## Slide 4: 2019 Application for SMC Permit Renewal
Permitted at 125 MGD
Has 6 permitted outfalls
  One to Medina River at plant site
  Five to Upper San Antonio River and Salado Creek
Streamflow augmentation discharges, water quality maintenance
Largest of the three plants
SMC Outfall 001

## Slide 5: SMC WRC Effluent Total Dissolved Solids
Chart: 
1997 to August 2024
Outfall 001
Stream Standard = 700 mg/L
mg/l
Effluent TDS

## Slide 6: Flow Weighted Average Effluent TDS
Chart: 
1997 to August 2024
CPSE Category B Standard = 700
Flow Weighted Average Effluent TDS
mg/l

## Slide 7: TCEQ Screening Calculations, Outfall 004
SMC Outfall 004

## Slide 8: Renewed Permit Received June 20, 2019
Instead of permit limit, negotiations resulted in a requirement for a Source Identification and Reduction Study
SMC TPDES permit Special Condition 9

## Slide 9: Study Requirements
Submit Work Plan to TCEQ for a 3-year study within 180 days
Identification of influent TDS and chloride sources
Control options (BMPs, pretreatment)
Effluent sampling
Reduction goals
Annual progress reporting

## Slide 10: Project Solicitation Request – Professional Services
Collection & analysis of wastewater samples and flow data
Existing sources – residential, commercial and industrial
Determine loading (including using SAWS data)
Cost analysis – effective methods to reduce TDS
  BMPs, pretreatment requirements, surcharge fees
Review potable water sources to calculate impact on loading
Water softeners impact on loadings
Prepare annual report each year and a final report
Expanded beyond SMC plant to entire service area

## Slide 12
Meet SMC WRC TPDES Permit Requirement
Understand TDS and chloride sources
Identify contribution by category/user:
  Water supply
  Industrial
Determine TDS and chloride concentrations upstream and downstream of WRC outfalls
Predict future TDS and chloride concentrations
Identify control options
Work Plan Goals

## Slide 13: Work Plan Development

## Slide 14: The Usual Suspects

## Slide 15
Sample Locations

## Slide 16: Sample Location Breakdown
94 Total Sampling Locations

## Slide 17: Issues in the Field

## Slide 18: Issues in the Field
Damage Caused by Chemical Corrosion
Damage Caused by High Flow

## Slide 19: Grab Sample Parameters
392 Total Grab Samples:
TDS,
total alkalinity,
specific conductivity,
chloride,
sulfate,
calcium,
magnesium,
manganese,
potassium, and
sodium.

## Slide 20: Mineral Composition

## Slide 21: Continuous Sonde Measurements
Continuous conductivity
YSI EXO3 Multiparameter Sonde
Eureka Trimeter Multiprobe Sonde

## Slide 22: Continuous Data Examples – Commercial
C04: Hospital
C10: Commercial

## Slide 23: Continuous Data Examples – Industrial
I05
I06
I06: Known Cooling Towers
I05: Manufacturer
Notes: Toyota – auto manufacturing

## Slide 24: Continuous Data Examples – Residential w/Softeners
R02
R10
R02
R10
Notes: Time of day, day of week

## Slide 25: Continuous Data Examples – Residential w/o Softeners
N05
N02
N02
N05
Notes: Spike may be a business, apartment complex, or other large capacity building. It may be a softener. May be able to use flume data.
Continue to better understand sewershed and if we need to explore further.

## Slide 26: SMC Contribution Breakdown

## Slide 27: Study Take Aways
Continuous data are valuable
Some manholes go dry – Plan flexibility
High concentrations do not always equal large loads
Nearly half of TDS load is from source water

## Slide 28: Possible Control Options
Reduce residential TDS contributions
  Rebate programs to replace inefficient water softener units
  Public education programs
  Training of water softener installers
Industrial dissolved salt discharge controls
  TBLLs may not be practical if largest contributor is residential
  Regulatory options:
    Narrative restrictions
    Numeric limits for target industries
  Pretreatment options:
    BMPs
    Water conservation tools
    Numeric thresholds for new/expanding industries

## Slide 29
September 27, 2024
Meg Pierce-Walsh, Practice Leader
Plummer Associates, Inc.
Gregg Eckhardt, Senior Analyst
SAWS Treatment and
Production Operations
Total Dissolved Solids Study